## A5
UNIT | : HOTEL AVASA - HYDERABAD, FIXED ASSETS, Q4 18-19
TITLE | : PHYSICAL VERIFICATION OF FIXED ASSETS WAS CARRIED OUT AS ON 06-MAR-19 & 09-MAR-19
Asset ID | Asset | Description | Date Put to use | Book Qty as per FAMS | Physical QTY | Variance | Rate (Rs.) | Variance Amount (Rs.) | Department | Remarks
AVA\AC\CMS\00001 | AC& REFRIGERATION | CHILLER MANAGEMENT SYSTEM | 2012-01-31 | 1 | 1 | 0 | 772487 | 0 | BMS Room
AVA\AC\CHLR\00001 | AC& REFRIGERATION | WATER COOLED SERIESR CHILLER | 2012-01-31 | 3 | 3 | 0 | 4998627.67 | 0 | BMS Room
AVA\AC\CHLR\00004 | AC& REFRIGERATION | supply of afd local accessries glands and cables for chiller of low power consumption | 2017-08-30 | 1 | 1 | 0 | 146845 | 0 | Plant Room
AVA\AC\MBAR\00001 | AC& REFRIGERATION | DOMESTIC REFRIGERATORS(MINIBARS)MOD:RH 440LD(1 NO) | 2012-01-31 | 222 | 217 | -5 | 5932.16 | -29660.8 | Rooms
AVA\AC\MBAR\00223 | AC& REFRIGERATION | MINIBAR | 2012-01-31 | 4 | 0 | -4 | 8169 | -32676
AVA\AC\OTH\00001 | AC& REFRIGERATION | UNSPECIFIED AC & REFRIGERATION | 2012-01-31 | 1 | 1 | 0 | 32803727.34 | 0
AVA\AC\S.AC\00001 | AC& REFRIGERATION | SUP.OF SAMSUNG SPLIT AC | 2012-01-31 | 1 | 1 | 0 | 45059 | 0 | GM Cabin
AVA\AC\S.AC\00002 | AC& REFRIGERATION | SUP.OF SAMSUNG SPLIT AC | 2012-01-31 | 1 | 1 | 0 | 36047 | 0 | Security Manager Cabin
AVA\AC\S.AC\00003 | AC& REFRIGERATION | SUP.OF SAMSUNG SPLIT AC | 2012-01-31 | 1 | 1 | 0 | 42537 | 0 | Eng.Dep Cabin
AVA\AC\S.AC\00004 | AC& REFRIGERATION | Split AC 1.5Ton (Make:Samsung.Mod:AS183UGD)(1 NO) | 2012-01-31 | 2 | 2 | 0 | 38168.5 | 0 | RM Office & D J Booth
AVA\AC\S.AC\00006 | AC& REFRIGERATION | DIAKIN AC SYSTEM | 2014-03-31 | 1 | 1 | 0 | 152500 | 0 | Sky Bar Dance Floor
AVA\AC\S.AC\00007 | AC& REFRIGERATION | DAIKIN SPLIT AC 1.5TR WITH FITTING CHARGES | 2018-10-31 | 1 | 1 | 0 | 41684 | 0 | Sky Bar Office
AVA\AC\FRG\00001 | AC& REFRIGERATION | REFRIGITATOR | 2012-09-30 | 1 | 0 | -1 | 27000 | -27000
AVA\AC\FRG\00002 | AC& REFRIGERATION | 4X DOOR REGRIGERATOR PLACES AT MAIN KITCHEN | 2013-12-31 | 1 | 1 | 0 | 103050 | 0 | Dispence Bar | MK158
AVA\AC\FRG\00003 | AC& REFRIGERATION | ADAPTIVE FREQUENCY DRIVE SUITABLE FOR TRANE CHILLERS | 2017-08-30 | 1 | 1 | 0 | 1199947 | 0 | Plant Room
AVA\AC\FRG\00004 | AC& REFRIGERATION | UNDER COUNTER REFRIGERATOR | 2017-10-07 | 1 | 1 | 0 | 215000 | 0 | Main Kitchen | Two Door
AVA\AC\ACT\00001 | AC& REFRIGERATION | 4FEET HIGH VELOCITY AIR CURTAIN(MOD:EAC4)(1 NO) | 2012-09-30 | 2 | 2 | 0 | 9993.56 | 0 | Receiving area & MKT Entrance
AVA\AC\ACT\00003 | AC& REFRIGERATION | 3FEET HIGH VELOCITY AIR CURTAIN(MOD:EAC3)(1 NO) | 2012-09-30 | 2 | 2 | 0 | 9156.44 | 0 | PI & OHM alfsco
AVA\AC\ACT\00005 | AC& REFRIGERATION | AIR CURTAIN | 2014-10-13 | 1 | 1 | 0 | 11982 | 0 | Main Kitchen
AVA\COLD\00001 | COLD STORAGE | CK 60 Fish Refrigerator | 2012-01-31 | 1 | 1 | 0 | 359404 | 0 | Butchery
AVA\COLD\00002 | COLD STORAGE | GM 34 Garde Manager Room | 2012-01-31 | 1 | 1 | 0 | 230759 | 0 | GM
AVA\COLD\00003 | COLD STORAGE | MK 80 Chefs Refrigerator | 2012-01-31 | 1 | 1 | 0 | 218234 | 0 | Main Kitchen | 3 Door Under Counter Refrigerator
AVA\COLD\00004 | COLD STORAGE | BC 38 Walk In Cooler | 2012-01-31 | 1 | 1 | 0 | 357657 | 0
AVA\COLD\00005 | COLD STORAGE | BK 47 Chefs Refrigerator | 2012-01-31 | 1 | 1 | 0 | 362608 | 0 | BKT
AVA\COLD\00006 | COLD STORAGE | BK 49 Chefs Freezer | 2012-01-31 | 1 | 1 | 0 | 474561 | 0
AVA\COLD\00007 | COLD STORAGE | CK 33 Butchery Refrigerator | 2012-01-31 | 1 | 1 | 0 | 396177 | 0 | Butchery
AVA\COLD\00008 | COLD STORAGE | CK 35 Butchery Freezer | 2012-01-31 | 1 | 1 | 0 | 534529 | 0 | Butchery
AVA\COLD\00009 | COLD STORAGE | CK 09 Vegetable Refrigerator | 2012-01-31 | 1 | 1 | 0 | 200397 | 0
AVA\COLD\00010 | COLD STORAGE | CK 09 Vegetable Refrigerator | 2012-01-31 | 1 | 1 | 0 | 131365 | 0 | Commischary
AVA\COLD\00011 | COLD STORAGE | GM 34 Garde Manager Room | 2012-01-31 | 1 | 1 | 0 | 131365 | 0
AVA\COLD\00012 | COLD STORAGE | MK 80 Chefs Refrigerator | 2012-01-31 | 1 | 1 | 0 | 164206 | 0 | Main Kitchen | 3 Door Under Counter Refrigerator
AVA\COLD\00013 | COLD STORAGE | COPPER PIPING FOR CHILLER ROOM(1 MT) | 2012-01-31 | 1 | 1 | 0 | 153282 | 0 | Out Door Units Cold Room
AVA\COLD\00014 | COLD STORAGE | COPPER PIPING FOR FREEZER ROOM(1 MT) | 2012-01-31 | 1 | 1 | 0 | 125033 | 0 | Out Door Units Cold Room
AVA\COLD\00015 | COLD STORAGE | AXIAL FAN MOTOR | 2012-09-30 | 1 | 1 | 0 | 40304 | 0
AVA\COLD\00016 | COLD STORAGE | CENTRIFUGAL MONOBLOCK PUMPSET(MAKE:WILO-MATHER)(1 NO) | 2012-09-30 | 2 | 2 | 0 | 16145.5 | 0 | Plant Room
AVA\COLD\00018 | COLD STORAGE | UNSPECIFIED COLD ROOM ITEMS | 2012-09-30 | 1 | 0 | -1 | 10906 | -10906
AVA\COLD\00019 | COLD STORAGE | CABINET 1400L TH 60 L TEMP 4D FREEZER | 2014-03-31 | 1 | 0 | -1 | 239143 | -239143
AVA\COLD\00020 | COLD STORAGE | Unspecified Cold Room in IIIrd Phase | 2014-03-31 | 1 | 0 | -1 | 120000 | -120000
AVA\COLD\00021 | COLD STORAGE | WALK IN CHILLER | 2017-06-07 | 1 | 0 | -1 | 426075 | -426075
AVA\CNTNR\00001 | CONTAINER | Supply of container NO:DVRU1553132/20 | 2012-01-31 | 1 | 1 | 0 | 173389 | 0 | Security
AVA\CNTNR\00002 | CONTAINER | Supply of container NO:LHSU2609898/20 | 2012-01-31 | 1 | 1 | 0 | 210907 | 0 | Security
AVA/DG/00001 | GENERATOR | DIESEL GENERATOR | 2011-03-31 | 1 | 1 | 0 | 502699 | 0 | Fire Pump Room
AVA/DG/00002 | GENERATOR | 600KVA DG Set (Make:Caterpiller,Mod:C18Radiator) | 2012-01-31 | 2 | 2 | 0 | 4974053.5 | 0 | Security gate
AVA\ELEC\OTHR\00003 | ELECTRICAL INSTALLATIONS | Sintex tank 3000Ltr Cap(Mod:CCWS300.01)(1 NO) | 2012-01-31 | 2 | 1 | -1 | 19714.5 | -19714.5 | Terrace | One is Scrap
AVA\ELEC\OTHR\00278 | ELECTRICAL INSTALLATIONS | 30 KVA UPS | 2013-05-17 | 1 | 1 | 0 | 372750 | 0 | Sky Bar Terrace
AVA\ELEC\OTHR\00279 | ELECTRICAL INSTALLATIONS | Hamamer Drilling Machine | 2013-12-31 | 1 | 1 | 0 | 6770 | 0 | Eng Dept
AVA\ELEC\OTHR\00280 | ELECTRICAL INSTALLATIONS | Hand Drilling Machine | 2013-12-31 | 1 | 1 | 0 | 5460 | 0 | Eng Dept
AVA\ELEC\OTHR\00281 | ELECTRICAL INSTALLATIONS | Supply of 12V, 5A Drivers | 2014-02-18 | 1 | 0 | -1 | 93150 | -93150 |  | Consumbles
AVA\ELEC\OTHR\00282 | ELECTRICAL INSTALLATIONS | SUPPLY OF 15KV APC -UPS | 2014-03-31 | 1 | 1 | 0 | 265000 | 0 | 3rd Floor
AVA\ELEC\OTHR\00321 | ELECTRICAL INSTALLATIONS | RK PENDENT LIGHT | 2014-03-31 | 2 | 0 | -2 | 28125 | -56250 |  | Consumbles
AVA/ELEV/00001 | ELEVATORS | 52NP4878 | 2012-01-31 | 1 | 1 | 0 | 2725416 | 0 | Banquets -1
AVA/ELEV/00002 | ELEVATORS | 52NP4879 | 2012-01-31 | 1 | 1 | 0 | 2725415 | 0 | Banquets -2
AVA/ELEV/00003 | ELEVATORS | 52NP4880 | 2012-01-31 | 1 | 1 | 0 | 3307534 | 0 | Service
AVA/ELEV/00004 | ELEVATORS | 52NP4881 | 2012-01-31 | 1 | 1 | 0 | 3307534 | 0 | Service
AVA/ELEV/00005 | ELEVATORS | 52NP4882 | 2012-01-31 | 1 | 1 | 0 | 3307534 | 0 | Service
AVA/ELEV/00006 | ELEVATORS | 52NP4885 | 2012-01-31 | 1 | 1 | 0 | 3533921 | 0 | Guest
AVA/ELEV/00007 | ELEVATORS | 52NP4886 | 2012-01-31 | 1 | 1 | 0 | 3533919 | 0 | Guest
AVA/ELEV/00008 | ELEVATORS | 52NP4887 | 2012-01-31 | 1 | 1 | 0 | 3533920 | 0 | Guest
AVA/ELEV/00009 | ELEVATORS | 52NP4883 | 2012-09-30 | 1 | 1 | 0 | 2983110.55 | 0 | Sky Bar
AVA/ELEV/00010 | ELEVATORS | 52NP4884 | 2012-09-30 | 1 | 1 | 0 | 2983110.45 | 0 | Sky Bar
00001 | ENERGY SAVING EQUIPMENTS | ENERGY SAVING SOLUATION SYSTEM FOR KITCHEN EXHAUST SYSTEM | 2013-12-01 | 1 | 1 | 0 | 475961 | 0 | Terrace
00006 | ENERGY SAVING EQUIPMENTS | Supply, installation, testing & commissioning of air to water heat pump complete with scroll compressors (two), regrigerant piping, microprocessor controls, safeties, in bult circulation pump & cleaning in place system | 2015-11-30 | 1 | 1 | 0 | 1699619 | 0 | Terrace
AVA/KTCHN/01755 | KITCHEN EQUIPMENT | RTCS Induction Cooker (MODEL:BUILT IN)(1 NO) | 2012-01-31 | 2 | 0 | -2 | 147320 | -294640
AVA/KTCHN/01761 | KITCHEN EQUIPMENT | Sandwich griller (Make:Roller Grill)(1 NO) | 2012-01-31 | 1 | 1 | 0 | 36365 | 0 | Main Kitchen GM
AVA/KTCHN/02007 | KITCHEN EQUIPMENT | Eelectric Boiling Pan EBE08(1 NO) | 2012-01-31 | 1 | 1 | 0 | 351273 | 0 |  | Not Working Since 5 months
AVA/KTCHN/02014 | KITCHEN EQUIPMENT | Under Counter Dish Washer NUC1(1 NO) | 2012-01-31 | 1 | 1 | 0 | 136343 | 0 | Sky Bar
AVA/KTCHN/02329 | KITCHEN EQUIPMENT | Coffee Machine EP950(1 NO) | 2012-01-31 | 1 | 1 | 0 | 12395 | 0
AVA/KTCHN/02330 | KITCHEN EQUIPMENT | Coffee Machine With Grinder Make:WEGA(1 NO) | 2012-01-31 | 1 | 1 | 0 | 207256 | 0 | IRD
AVA/KTCHN/02453 | KITCHEN EQUIPMENT | BC 23 Work top with undercounter refrigerator(1 NO) | 2012-01-31 | 1 | 1 | 0 | 90558 | 0
AVA/KTCHN/02454 | KITCHEN EQUIPMENT | BC 27 Undercounter refrigerartor with marble top(1 NO) | 2012-01-31 | 1 | 1 | 0 | 89268 | 0 | Bakery | 3 Door
AVA/KTCHN/02524 | KITCHEN EQUIPMENT | BK 05 2Door reach in refrigerator(1 NO) | 2012-01-31 | 3 | 1 | -2 | 79166 | -158332 | Banquet
AVA/KTCHN/02572 | KITCHEN EQUIPMENT | CS 15 Under counter refrigerator(1 NO) | 2012-01-31 | 1 | 1 | 0 | 82723 | 0
AVA/KTCHN/02594 | KITCHEN EQUIPMENT | SC 35 Two Door reach in refrigerator(1 NO) | 2012-01-31 | 1 | 1 | 0 | 79166 | 0 | Sky
AVA/KTCHN/02893 | KITCHEN EQUIPMENT | Gas Oven (Mod:Sandard , ITem No:PG 100)(1 NO) | 2012-01-31 | 1 | 1 | 0 | 592795 | 0 | PI
AVA/KTCHN/02894 | KITCHEN EQUIPMENT | REFRIGIRATOR | 2012-01-31 | 1 | 1 | 0 | 38957 | 0
AVA/KTCHN/02895 | KITCHEN EQUIPMENT | GM 05 Two door reach in freezer(1 NO) | 2012-01-31 | 1 | 1 | 0 | 232652 | 0 | GM
AVA/KTCHN/02897 | KITCHEN EQUIPMENT | MK 110 Refrigerated sandwich unit wiith overshelf(1 NO) | 2012-01-31 | 1 | 1 | 0 | 139472 | 0 | Main Kitchen
AVA/KTCHN/02898 | KITCHEN EQUIPMENT | MK 115 two door reach in refrigerator(1 NO) | 2012-01-31 | 1 | 1 | 0 | 120454 | 0 | Chinese Kitchen
AVA/KTCHN/02901 | KITCHEN EQUIPMENT | MK 180 Four door reach in refrigerator(1 NO) | 2012-01-31 | 1 | 1 | 0 | 145812 | 0 | Dispence Bar
AVA/KTCHN/02903 | KITCHEN EQUIPMENT | MK 24 Under counter refrigerator(1 NO) | 2012-01-31 | 1 | 1 | 0 | 112846 | 0 | PI
AVA/KTCHN/02904 | KITCHEN EQUIPMENT | MK 25 Under counter refrigerator(1 NO) | 2012-01-31 | 1 | 1 | 0 | 120454 | 0 | Banquet
AVA/KTCHN/02905 | KITCHEN EQUIPMENT | OR 01 Under counter refrigeraror(1 NO) | 2012-01-31 | 1 | 1 | 0 | 124257 | 0
AVA/KTCHN/02906 | KITCHEN EQUIPMENT | OR 03 Under counter refrigerator with cold pan uni(1 NO) | 2012-01-31 | 1 | 1 | 0 | 145812 | 0 | Dispence Bar
AVA/KTCHN/02907 | KITCHEN EQUIPMENT | OR 04 Under counter refrigerator(1 NO) | 2012-01-31 | 1 | 1 | 0 | 124257 | 0
AVA/KTCHN/02930 | KITCHEN EQUIPMENT | ICE CUBEW MACHINE MAKE:SCOTSMAN(MOD:MV 456AS)(1 NO) | 2012-01-31 | 2 | 2 | 0 | 98908.5 | 0 | Lobby Level & Banquet Level
AVA/KTCHN/02932 | KITCHEN EQUIPMENT | ICE FLAKE MACHINE MAKE:SCOTSMAN(MOD:AF-20AS)(1 NO) | 2012-01-31 | 1 | 1 | 0 | 194321 | 0 | Dispence Bar
AVA/KTCHN/02935 | KITCHEN EQUIPMENT | DROP IN ICE CREAM FREEZERS S/C(MOD:ANHUPJ03N227)(1 NO) | 2012-01-31 | 1 | 1 | 0 | 188135 | 0 | PI
AVA/KTCHN/03542 | KITCHEN EQUIPMENT | ICE CUBE MACHINE | 2012-09-30 | 1 | 1 | 0 | 11832.77 | 0 | Lobby
AVA/KTCHN/03576 | KITCHEN EQUIPMENT | CS 31 UNDER COUNTER REFRIGERATOR(1 NO) | 2012-09-30 | 2 | 2 | 0 | 48401.6 | 0
AVA/KTCHN/03756 | KITCHEN EQUIPMENT | BK39 UNDER COUNTER REFRIGERATOR(1 NO) | 2012-09-30 | 1 | 1 | 0 | 69546.5 | 0
AVA/KTCHN/03757 | KITCHEN EQUIPMENT | CS 31 UNDER COUNTER REFRIGERATOR(1 NO) | 2012-09-30 | 2 | 2 | 0 | 61083.75 | 0
AVA/KTCHN/03799 | KITCHEN EQUIPMENT | SANDWITCH COUNTER WITH UNDER COUNTER REFRIGERATOR(PANS) | 2014-01-01 | 1 | 1 | 0 | 97439 | 0 | OHM
AVA/KTCHN/03821 | KITCHEN EQUIPMENT | TWO REACH IN REFRIGIRATOR | 2013-04-30 | 1 | 1 | 0 | 95309 | 0
AVA/KTCHN/03862 | KITCHEN EQUIPMENT | 3DOOR UNDOR COUNTER REFRIGIRATIOR | 2014-06-09 | 1 | 1 | 0 | 72135 | 0 | Bakery
00002 | OTHER FIXED ASSET | HOARDING STRUCTUE | 2014-01-17 | 1 | 1 | 0 | 55630 | 0 | Out Gate
00003 | OTHER FIXED ASSET | Supply of canvas media UV print with wooden frame (each canvas media size: 44" X 47" - 3nos) | 2014-12-15 | 3 | 0 | -3 | 8333.33 | -24999.99 | SKY BAR LIFT OPP
00013 | OTHER FIXED ASSET | GARBAGE COMPOSTING MACHINE | 2018-07-30 | 1 | 1 | 0 | 329999 | 0 | Garbage Room
00014 | OTHER FIXED ASSET | STAFF LOCKERS | 2018-09-03 | 30 | 30 | 0 | 11070 | 0 | Staff Bunker
00044 | OTHER FIXED ASSET | LUGGAGE TROLLEY FOR FRONT OFFICE | 2018-09-05 | 1 | 1 | 0 | 253692 | 0 | Front Office
AVA\LAB\00001 | QC LAB EQUIPMENT | LG REFREGIRATOR DOUBLE DOOR 240 LTR | 2012-09-30 | 1 | 1 | 0 | 16250 | 0 | Lab
AVA\LAB\00008 | QC LAB EQUIPMENT | AUTO CLAVE LARGE(1 NO) | 2012-09-30 | 1 | 1 | 0 | 55103.13 | 0 | Lab
AVA\LAB\00010 | QC LAB EQUIPMENT | LASER GUN THERMOMETER(1 NO) | 2012-09-30 | 2 | 2 | 0 | 4458.34 | 0 | Lab | Not Working For a Long Time
AVA\LAB\00017 | QC LAB EQUIPMENT | LAMINAR AIR FLOW 3*2*2FEET(1 NO) | 2012-09-30 | 1 | 1 | 0 | 66624.69 | 0 | Lab
AVA\LAB\00022 | QC LAB EQUIPMENT | WALL STORAGE CABINET 900*300*600MM HT(1 NO) | 2012-09-30 | 1 | 1 | 0 | 33184 | 0 | Lab
AVA\LAB\00023 | QC LAB EQUIPMENT | WALL TABLE 3600*600750MM HT(1 NO) | 2012-09-30 | 1 | 1 | 0 | 51708.77 | 0 | Lab
AVA\LAB\00024 | QC LAB EQUIPMENT | SS WALL TABLE 1200*600750MM HT(1 NO) | 2012-09-30 | 1 | 1 | 0 | 19763.45 | 0
00009 | RESEARCH EQUIPMENTS | HORIZONTAL TUBE - BASED VACUUM SUBLIMATION | 2017-06-08 | 1 | 0 | -1 | 8051400 | -8051400 |  | Kept at Research centre-Hyd University for researching
00008 | VEHICLES | PURCHASE OF MINI COOPER | 2017-01-02 | 1 | 1 | 0 | 4044415 | 0 |  | Available at corporate
00010 | VEHICLES | BMW CAR 320D ALPINE WHITE 36124 | 2017-12-12 | 1 | 1 | 0 | 4722661 | 0 |  | Available at corporate
00012 | VEHICLES | SKODA OCTAVIA RS | 2018-04-27 | 1 | 1 | 0 | 3123446 | 0 |  | Vehicles at corporate
00075 | VEHICLES | TUSCAN VEHICLE PURCHASED | 2018-04-19 | 1 | 1 | 0 | 2982717 | 0 |  | Vehicles at corporate
00076 | VEHICLES | BOLERO VEHICLE | 2018-07-21 | 1 | 1 | 0 | 991974 | 0 |  | At site
00077 | VEHICLES | VST DUCATI VEHICLE | 2018-08-13 | 1 | 1 | 0 | 897680 | 0 |  | Vehicles at corporate
00078 | VEHICLES | BMW BIKE | 2018-11-15 | 1 | 1 | 0 | 401693 | 0 |  | Vehicles at corporate
AVA\WTP\00001 | WATER TREATMENT PLANT | WATER TREATMENT PLANT | 2012-01-31 | 1 | 1 | 0 | 3542826 | 0 | WT Plant Room
AVA\WTP\00002 | WATER TREATMENT PLANT | UNSPECIFIED WTP ADDED FOR SECOND PHASE | 2012-09-30 | 1 | 1 | 0 | 232412.65 | 0 | WT Plant Room
AVA\WTP\00003 | WATER TREATMENT PLANT | Unspecified WTP in IIIrd Phase | 2014-03-31 | 1 | 1 | 0 | 60166 | 0 | WT Plant Room
AVA\WTP\00004 | WATER TREATMENT PLANT | MULTI GRADE FILTER | 2014-12-31 | 1 | 1 | 0 | 29350 | 0 | WT Plant Room
AVA\WTP\00005 | WATER TREATMENT PLANT | PRESSURE TANK HNS 300 LTRS | 2018-05-23 | 2 | 2 | 0 | 67000 | 0 | WT Plant Room
AVA/KTCHN/03918 | KITCHEN EQUIPMENT | INDUSTRIAL DISH WASHER FAST TECH 400 | 2018-04-02 | 1 | 1 | 0 | 112750 | 0 | OHM alfsco
AVA/KTCHN/03919 | KITCHEN EQUIPMENT | TABLE TOP MOUNTED SS SINK | 2018-07-03 | 1 | 1 | 0 | 13400 | 0 | OHM alfsco
AVA/KTCHN/03920 | KITCHEN EQUIPMENT | bar counter corner 2 bar counter straingt 4 gold lik | 2018-04-10 | 1 | 1 | 0 | 180166 | 0 | OHM alfsco
AVA/KTCHN/03921 | KITCHEN EQUIPMENT | cocktail station 1 no. ss storage units back bar 1 no, table top mounted ss with mixer, under counter bottle cooler 1no and under counter water bin ss 1no | 2018-04-10 | 1 | 0 | -1 | 175700 | -175700
AVA\COMP\DTP\00104 | COMPUTERS | 5 POS SYSTEMS WITH PRINTER , CASH DRAW & SOFTWARE | 2018-08-30 | 5 | 5 | 0 | 247800 | 0 |  | One Is Not Using
AVA\COMP\LTP\00011 | COMPUTERS | HP LAPTOP PURCHASED FROM REDINGTON INDIA LTD | 2018-05-02 | 1 | 1 | 0 | 34960 | 0 | Sales Head Cabin
AVA\COMP\LTP\00012 | COMPUTERS | LAPTOP HP 2 NO'S FROM GADGET STORES HYDERABAD | 2018-09-18 | 2 | 2 | 0 | 16652.5 | 0 | Sales
AVA\COMP\SCN\00005 | COMPUTERS | DOCUMENT SCANNER | 2018-10-30 | 1 | 1 | 0 | 5501 | 0
AVA/KTCHN/03587 | KITCHEN EQUIPMENT | ESPRESSO COFFEE MCHINE WITH CAPPUCCINO MOD:GLORIA(1 NO) | 2012-09-30 | 1 | 0 | -1 | 253869 | -253869
AVA/KTCHN/03875 | KITCHEN EQUIPMENT | VAMI TEA & COFFEE URN | 2015-12-14 | 1 | 0 | -1 | 6920 | -6920
AVA/KTCHN/03876 | KITCHEN EQUIPMENT | VAMI TEA & COFFEE URN | 2015-12-14 | 1 | 0 | -1 | 6920 | -6920
AVA/KTCHN/03877 | KITCHEN EQUIPMENT | VAMI TEA & COFFEE URN | 2015-12-14 | 1 | 0 | -1 | 6920 | -6920
AVA/KTCHN/03878 | KITCHEN EQUIPMENT | VAMI TEA & COFFEE URN | 2015-12-14 | 1 | 0 | -1 | 6920 | -6920
AVA/KTCHN/03879 | KITCHEN EQUIPMENT | VAMI TEA & COFFEE URN | 2015-12-14 | 1 | 0 | -1 | 6920 | -6920
AVA/KTCHN/03880 | KITCHEN EQUIPMENT | VAMI TEA & COFFEE URN | 2015-12-14 | 1 | 0 | -1 | 6920 | -6920
MG\HKE\02125-2164 | HOUSE KEEPING EQUIPMENT | HAIR DRYER | 2017-08-02 | 40 | 0 | -40 | 2050 | -82000 | - | -
|  |  | Total |  |  |  |  | -10137036.29
-10137036.29
-2085636.29